

Fusion Custom Mask (FCM)

Procedure Summary

When?

* Failed OAT
* High CPAP or BiPAP pressures over 15 cmH20 pressures
* Severe OSA with PSO2 > 85%
* Significant co-morbidities, esp., cardiovascular and cerebrovascular

How?

1. Take impressions for Fusion Monoblock (FMB) and send to lab

Three weeks

1. Insert FMB, connect and take face impression to send to lab

Three weeks

1. Deliver FCM

One week

1. Follow-up
2. When satisfied, send for CPAP titration
3. Consider Pulse ox check